## 1 - all 4 ntc
| Expt 357 - SensiFAST Probe No Rox |  |  |  | Goal: RRDR MEP614 Seg1 and MEP613 Seg2 - Swesh E63 showed NTC intercations were when all 4 components present (primers and probes) group 1 and when both primers were present group 6 - Chakravorty '12 origin primer seq paper used annealing 61C for 30s 45cycles so lets try gping with different annealing temps to fix NTCs (we got to 61C during E250 40cycles symmetric PCR - and do 50s) - Here, try annealing temps of 57/59/61/63/65/67C - include sets of both primers and all 4 components as both NTC and WT targets
Date | 2025-04-15 | Grp 1 - All 4, NTC | [6 empty] | Build off E356 - keep 50 cycles | [6 empty] | 57 |  | 59 |  | 61 |  | 63 |  | 65 |  | 67 |  | Group | F Pri | R Pri | Seg1 | Seg2 | NTC | WT
|  |  | # of Samples | 12 |  |  |  |  | PCR + post-melt: 0.025C/s on continuous melt per literature support |  |  | Mutated Seg | Target Type | MEP |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 1 | X | X | X | X | X |  |  |  |  | 6 | 6 | 6 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | N |  |  |  | 6 | 6 | 6 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | N
Kit = SensiFAST Probe No-ROX Kit (BIO-86005) | [9 empty] | Temp (ºC) | Time (mm:ss) | N/A | Wild-type RRDR | 399 | A | [12 empty] | 2 | X | X |  |  | X |  | #1 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | #4 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  |  | # of Rxns | [5 empty] | Polymerase Activation | 95 | 2:00 | S1 | D435V | 478 | B | [12 empty] | 3 |  |  |  |  | X |  |  | A | [13 empty] | A
|  | sum | 1 | 14 |  |  |  |  | Melt / Denaturation (Cycling A) | 95 | 0:10 | S2 | H445D | 479 | C | [12 empty] | 4 | X | X | X | X |  | X |  | B |  | 479 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n |  | B |  | 399 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
Component | [Working] | [Final Rxn uM] | Single Rxn Vol (uL) | Full Rxn Vol (uL) | Check off Component |  |  |  | Anneal / Extension (Cycling B) *acquire* | 57/59/61/63/65/67 | 0:50 | S2 | S450L | 480 | D | [20 empty] | C |  | 480 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n |  | C |  | 478 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
Nuclease-free water |  |  | 4.1 | 57.4 |  | Nuclease-free water |  |  | # of cycles | 50 |  | S2 | H445D+S450L | 481 | E | [20 empty] | D |  | 481 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n |  | D |  | 479 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
rpoB F Primer (MEP409) | 50 uM | 0.5 | 0.2 | 2.8 |  | rpoB F Primer (MEP409) |  |  | Anneal / Hybridiization | 95C to 50C |  | S1+2 | D435V+H445D+S450L | 482 | F | [20 empty] | E |  | 482 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 |  |  | E |  | 480 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
rpoB R Primer (MEP410) | 5 uM | 0.05 | 0.2 | 2.8 |  | rpoB R Primer (MEP410) |  |  | Melt Analysis *aquire* | 65C to 95C |  | S1 | L430P | 618 | G | [20 empty] | F |  | 618 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 |  |  | F |  | 481 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
SensiFAST Probe No-ROX Kit | 2X | 1X | 10 | 140 |  | SensiFAST Probe No-ROX Kit |  |  | Custom melt // targets: no passive reference, optical filters x1 (excitation 470+/-15nm), m1 (emission 520+/-15nm), m4 (emission 623+/-14nm), reporters: LCGR+-none |  |  | S1 | S428T | 619 | H | [20 empty] | G |  | 619 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 |  |  | G |  | 482 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
LC Green Plus | 10X | 2X | 4 | 56 |  | LC Green Plus | [5 empty] | N/A | NTC | NA | [21 empty] | H | [13 empty] | H
Groups 1-3 ONLY
Blocked Melt Probe Seg1 (MEP614) | 10 uM | 0.25 | 0.5 | 7 | Probe 1 |  |  |  | PCR: 1.6C/s to 95C 2m, 1.6C/s to 95C 10s, 1.6C/s to 57/59/61/63/65/67C 50s acq (50X PCR) |  |  | Master Mix | Seg 1 MEP614 in uL (via 10uM) | Seg 2 MEP613 in uL (via 10uM) |  |  | 1 | Add Seg1 (@ 10uM) to MM tube | [19 empty] | 6 | 6 | 6 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | N
Blocked Melt Probe Seg2 (MEP613) | 10 uM | 0.5 | 1 | 14 | Probe 2 | [11 empty] | 2 | Add Seg2 (@ 10uM) to MM tube | [16 empty] | #2 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | Target uL calculations
Target = Water or WT MEP399 10^6 c/uL |  |  | 0 | Included in water | Target |  |  |  | Melt: 1.6C/s to 95C 15s, 0.1C/s to 50C 15s, 1.6C/s to 65C 1m, 0.025C/s acq continuous to 95C 15s |  |  | 1 | 7 | 14 |  |  | 3 | Pipet 20uL MM per well | [17 empty] | A | [13 empty] | 6 uL per other group
|  | total volume | 20 | [8 empty] | 2 | 0 | 0 | [21 empty] | B |  | 481 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
15 min UV light in clean hood |  | sum | 20 | 266 | [7 empty] | 3 | 0 | 0 | [21 empty] | C |  | 482 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
Clean hood = left, target bench = left |  | vol/tube |  | 18.5 | [7 empty] | 4 | 7 | 14 |  | Group 4 ONLY | [19 empty] | D |  | 618 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
PCR instrument = QuantStudio5 | [16 empty] | 1 | Add Seg1 (@ 10uM) to MM tube | [17 empty] | E |  | 619 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
SensiFAST Probe No-ROX Kit (BIO-86005) | LOT = # SFPN-323412A | o 4/8/25 | [14 empty] | 2 | Add Seg2 (@ 10uM) to MM tube | [17 empty] | F |  | 399 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
LC Green Plus (BioFire Cat # BCHM-ASY-0005, LOT 302124), 10X in 10mM Tris-HCl, o 3/11/25, stored in ClRm FridgeB | [16 empty] | 3 | Pipet 18uL MM per well | [17 empty] | G |  | 478 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
10/23/24 prep 50uM FWD pri MEP409, 02/05/2025 SD prep 5uM REV pri MEP410, 07/25/2024 NAM prep 10uM REV pri MEP410 - all from 6/19/24 stock 100uM - new aliq 50 and 5 from Swesh 4/7/25 | [16 empty] | 4 | Add 2uL target per target well (10^6c/uL) | [17 empty] | H
10/25/24 prep RRDR WT (MEP399) and H445D+S450L (MEP481) target as 10^6 c/uL in -80 box RRDR Targets July 2024
7/23+24/24 prep 10^6c/uL target for H445D (MEP479), D435V (MEP478), S450L (MEP480), D435V+H445D+S450L (MEP482) in -80C box RRDR Targets July 2024 | [37 empty] | 6 | 6 | 6 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | N
3/24/25 and 4/7/25 prep MEP613 RRDR Seg2 Blocked Probe as 100uM in 1X TE clean room freezer, 10uM in H2O target fridge | [34 empty] | #3 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
3/24/25 and 4/7/25 prep MEP614 RRDR Seg1 Blocked Probe as 100uM in 1X TE clean room freezer, 10uM in H2O target fridge | [35 empty] | A
4/7/25 prep L430P (MEP618) and S428T (MEP619) RRDR Targets | [35 empty] | B |  | 618 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
[36 empty] | C |  | 619 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
[36 empty] | D |  | 399 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
[36 empty] | E |  | 478 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
Component | [Stock] (uM) | [Working] (uM) | [Rxn] (uM) | [Rxn] (nM) |  | Volume (uL) added per rxn | Sequence | Source | [27 empty] | F |  | 479 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
RRDR F Primer (MEP409) | 100 | 50 | 0.5 | 500 |  | 0.2 | [29 empty] | G |  | 480 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
RRDR R Primer (MEP410) | 100 | 5 | 0.05 | 50 |  | 0.2 | [29 empty] | H
DNA | Classification | AA Change | Base Change | ID | Oligo Length | Oligo Sequence
Location: -20C, rpob - I491 F pink box from 6/3/24
Note w/r to mutants: SNP underlined in red
2/11/25 prep 10uM blocked probes MEP551 and 02/03/25 aliquot prep MEP492
10/23/24 prep 50uM Blocked C3 Spacer WT RRDR Melt Probe MEP551 (Segment 1, stock 10/3/24 in clean room) in -80 box RRDR Melt Probe Segments
02/03/25 Swesh prep 50uM Blocked C3 Spacer WT RRDR Melt Probe MEP492 (Segment 2, stock 7/25/24) in -80 box RRDR Melt Probe Segments
12/9/24 prep 10uM 3' TXR Seg2 WT RRDR Melt Probe MEP599 (stock 12/9/24 in clean room) in 20C target fridge
11/20/24 prep 10uM 3' TXR Seg1 WT RRDR Melt Probe MEP596 (stock 11/20/24 in clean room) in 20C target fridge
12/20/24 prep 10uM 3' TXR Conserved Seg WT RRDR Melt Probe MEP600 (stock 12/20/24 in clean room) in 20C target fridge
11/18 prep I491 WT LDNA TXR 5' FWD and unlabeled REV as 100uM in 1X TE, single strand as 4E12c/uL in water
11/18/24 prep I491 WT LDNA TXR 5' FWD and unlabeled REV as 1-1 ratio with 2E11 c/uL per strand in water | [5 empty] | 02/26/25 SD MgCl2 prep (500 mM stock) and 100 mM Dilution (clean room right hood)
SYBR Green I nucleic acid gel stain (Sigma S9430_0.5ML) LOT #SLBD8080V |  | 10/24/24: prep 100X SYBR in 1X TE via 10,000X DMSO stock |  |  |  | 2/10/25 and prep 25X SYBR in 1X TE via 100X in TE via 10,000X stock
3/10/25 prep MEP612 RRDR Seg2 Blocked Probe as 100uM in 1X TE clean room freezer, 10uM in H2O target fridge
9/18/24 prep MEP550 RRDR Seg1 Blocked Probe as 10uM in H2O target fridge

## 2 - both pri ntc
Expt 357 - SensiFAST Probe No Rox
Date | 2025-04-15 | Grp 2 - Both primers NTC | [6 empty] | Build off E356 - keep 50 cycles | [6 empty] | 57 |  | 59 |  | 61 |  | 63 |  | 65 |  | 67 |  | Group | F Pri | R Pri | Seg1 | Seg2 | NTC | WT
|  |  | # of Samples | 12 |  |  |  |  | PCR + post-melt: 0.025C/s on continuous melt per literature support |  |  | Mutated Seg | Target Type | MEP |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 1 | X | X | X | X | X |  |  |  |  | 6 | 6 | 6 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | N |  |  |  | 6 | 6 | 6 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | N
Kit = SensiFAST Probe No-ROX Kit (BIO-86005) | [9 empty] | Temp (ºC) | Time (mm:ss) | N/A | Wild-type RRDR | 399 | A | [12 empty] | 2 | X | X |  |  | X |  | #1 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | #4 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  |  | # of Rxns | [5 empty] | Polymerase Activation | 95 | 2:00 | S1 | D435V | 478 | B | [12 empty] | 3 |  |  |  |  | X |  |  | A | [13 empty] | A
|  | sum | 1 | 14 |  |  |  |  | Melt / Denaturation (Cycling A) | 95 | 0:10 | S2 | H445D | 479 | C | [12 empty] | 4 | X | X | X | X |  | X |  | B |  | 479 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n |  | B |  | 399 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
Component | [Working] | [Final Rxn uM] | Single Rxn Vol (uL) | Full Rxn Vol (uL) | Check off Component |  |  |  | Anneal / Extension (Cycling B) *acquire* | 57/59/61/63/65/67 | 0:50 | S2 | S450L | 480 | D | [20 empty] | C |  | 480 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n |  | C |  | 478 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
Nuclease-free water |  |  | 5.6 | 78.4 |  | Nuclease-free water |  |  | # of cycles | 50 |  | S2 | H445D+S450L | 481 | E | [20 empty] | D |  | 481 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n |  | D |  | 479 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
rpoB F Primer (MEP409) | 50 uM | 0.5 | 0.2 | 2.8 |  | rpoB F Primer (MEP409) |  |  | Anneal / Hybridiization | 95C to 50C |  | S1+2 | D435V+H445D+S450L | 482 | F | [20 empty] | E |  | 482 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 |  |  | E |  | 480 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
rpoB R Primer (MEP410) | 5 uM | 0.05 | 0.2 | 2.8 |  | rpoB R Primer (MEP410) |  |  | Melt Analysis *aquire* | 65C to 95C |  | S1 | L430P | 618 | G | [20 empty] | F |  | 618 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 |  |  | F |  | 481 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
SensiFAST Probe No-ROX Kit | 2X | 1X | 10 | 140 |  | SensiFAST Probe No-ROX Kit |  |  | Custom melt // targets: no passive reference, optical filters x1 (excitation 470+/-15nm), m1 (emission 520+/-15nm), m4 (emission 623+/-14nm), reporters: LCGR+-none |  |  | S1 | S428T | 619 | H | [20 empty] | G |  | 619 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 |  |  | G |  | 482 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
LC Green Plus | 10X | 2X | 4 | 56 |  | LC Green Plus | [5 empty] | N/A | NTC | NA | [21 empty] | H | [13 empty] | H
[17 empty] | 1 | Add Seg1 (@ 10uM) to MM tube
Blocked Melt Probe Seg1 (MEP614) | 10 uM | 0.25 |  | 0 | Probe 1 |  |  |  | PCR: 1.6C/s to 95C 2m, 1.6C/s to 95C 10s, 1.6C/s to 57/59/61/63/65/67C 50s acq (50X PCR) |  |  | Master Mix | Seg 1 MEP614 in uL (via 10uM) | Seg 2 MEP613 in uL (via 10uM) |  |  | 2 | Add Seg2 (@ 10uM) to MM tube | [19 empty] | 6 | 6 | 6 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | N
Blocked Melt Probe Seg2 (MEP613) | 10 uM | 0.5 |  | 0 | Probe 2 | [11 empty] | 3 | Pipet 18uL MM per well | [16 empty] | #2 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | Target uL calculations
Target = Water or WT MEP399 10^6 c/uL |  |  | 0 | Included in water | Target |  |  |  | Melt: 1.6C/s to 95C 15s, 0.1C/s to 50C 15s, 1.6C/s to 65C 1m, 0.025C/s acq continuous to 95C 15s |  |  | 2 | 0 | 0 |  |  | 4 | Add 2uL target per target well (10^6c/uL) | [17 empty] | A | [13 empty] | 6 uL per other group
|  | total volume | 20 | [32 empty] | B |  | 481 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
15 min UV light in clean hood |  | sum | 20 | 280 | [31 empty] | C |  | 482 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
Clean hood = left, target bench = left |  | vol/tube |  | 20 | [31 empty] | D |  | 618 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
PCR instrument = QuantStudio5 | [35 empty] | E |  | 619 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
SensiFAST Probe No-ROX Kit (BIO-86005) | LOT = # SFPN-323412A | o 4/8/25 | [33 empty] | F |  | 399 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
LC Green Plus (BioFire Cat # BCHM-ASY-0005, LOT 302124), 10X in 10mM Tris-HCl, o 3/11/25, stored in ClRm FridgeB | [35 empty] | G |  | 478 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
10/23/24 prep 50uM FWD pri MEP409, 02/05/2025 SD prep 5uM REV pri MEP410, 07/25/2024 NAM prep 10uM REV pri MEP410 - all from 6/19/24 stock 100uM - new aliq 50 and 5 from Swesh 4/7/25 | [35 empty] | H
10/25/24 prep RRDR WT (MEP399) and H445D+S450L (MEP481) target as 10^6 c/uL in -80 box RRDR Targets July 2024
7/23+24/24 prep 10^6c/uL target for H445D (MEP479), D435V (MEP478), S450L (MEP480), D435V+H445D+S450L (MEP482) in -80C box RRDR Targets July 2024 | [37 empty] | 6 | 6 | 6 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | N
3/24/25 and 4/7/25 prep MEP613 RRDR Seg2 Blocked Probe as 100uM in 1X TE clean room freezer, 10uM in H2O target fridge | [34 empty] | #3 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
3/24/25 and 4/7/25 prep MEP614 RRDR Seg1 Blocked Probe as 100uM in 1X TE clean room freezer, 10uM in H2O target fridge | [35 empty] | A
4/7/25 prep L430P (MEP618) and S428T (MEP619) RRDR Targets | [35 empty] | B |  | 618 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
[36 empty] | C |  | 619 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
[36 empty] | D |  | 399 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
[36 empty] | E |  | 478 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
Component | [Stock] (uM) | [Working] (uM) | [Rxn] (uM) | [Rxn] (nM) |  | Volume (uL) added per rxn | Sequence | Source | [27 empty] | F |  | 479 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
RRDR F Primer (MEP409) | 100 | 50 | 0.5 | 500 |  | 0.2 | [29 empty] | G |  | 480 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
RRDR R Primer (MEP410) | 100 | 5 | 0.05 | 50 |  | 0.2 | [29 empty] | H
DNA | Classification | AA Change | Base Change | ID | Oligo Length | Oligo Sequence
Location: -20C, rpob - I491 F pink box from 6/3/24
Note w/r to mutants: SNP underlined in red
2/11/25 prep 10uM blocked probes MEP551 and 02/03/25 aliquot prep MEP492
10/23/24 prep 50uM Blocked C3 Spacer WT RRDR Melt Probe MEP551 (Segment 1, stock 10/3/24 in clean room) in -80 box RRDR Melt Probe Segments
02/03/25 Swesh prep 50uM Blocked C3 Spacer WT RRDR Melt Probe MEP492 (Segment 2, stock 7/25/24) in -80 box RRDR Melt Probe Segments
12/9/24 prep 10uM 3' TXR Seg2 WT RRDR Melt Probe MEP599 (stock 12/9/24 in clean room) in 20C target fridge
11/20/24 prep 10uM 3' TXR Seg1 WT RRDR Melt Probe MEP596 (stock 11/20/24 in clean room) in 20C target fridge
12/20/24 prep 10uM 3' TXR Conserved Seg WT RRDR Melt Probe MEP600 (stock 12/20/24 in clean room) in 20C target fridge
11/18 prep I491 WT LDNA TXR 5' FWD and unlabeled REV as 100uM in 1X TE, single strand as 4E12c/uL in water
11/18/24 prep I491 WT LDNA TXR 5' FWD and unlabeled REV as 1-1 ratio with 2E11 c/uL per strand in water | [5 empty] | 02/26/25 SD MgCl2 prep (500 mM stock) and 100 mM Dilution (clean room right hood)
SYBR Green I nucleic acid gel stain (Sigma S9430_0.5ML) LOT #SLBD8080V |  | 10/24/24: prep 100X SYBR in 1X TE via 10,000X DMSO stock |  |  |  | 2/10/25 and prep 25X SYBR in 1X TE via 100X in TE via 10,000X stock
3/10/25 prep MEP612 RRDR Seg2 Blocked Probe as 100uM in 1X TE clean room freezer, 10uM in H2O target fridge
9/18/24 prep MEP550 RRDR Seg1 Blocked Probe as 10uM in H2O target fridge

## 3 - none ntc
Expt 357 - SensiFAST Probe No Rox
Date | 2025-04-15 | Grp 3 - None NTC | [6 empty] | Build off E356 - keep 50 cycles | [6 empty] | 57 |  | 59 |  | 61 |  | 63 |  | 65 |  | 67 |  | Group | F Pri | R Pri | Seg1 | Seg2 | NTC | WT
|  |  | # of Samples | 12 |  |  |  |  | PCR + post-melt: 0.025C/s on continuous melt per literature support |  |  | Mutated Seg | Target Type | MEP |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 1 | X | X | X | X | X |  |  |  |  | 6 | 6 | 6 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | N |  |  |  | 6 | 6 | 6 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | N
Kit = SensiFAST Probe No-ROX Kit (BIO-86005) | [9 empty] | Temp (ºC) | Time (mm:ss) | N/A | Wild-type RRDR | 399 | A | [12 empty] | 2 | X | X |  |  | X |  | #1 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | #4 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  |  | # of Rxns | [5 empty] | Polymerase Activation | 95 | 2:00 | S1 | D435V | 478 | B | [12 empty] | 3 |  |  |  |  | X |  |  | A | [13 empty] | A
|  | sum | 1 | 14 |  |  |  |  | Melt / Denaturation (Cycling A) | 95 | 0:10 | S2 | H445D | 479 | C | [12 empty] | 4 | X | X | X | X |  | X |  | B |  | 479 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n |  | B |  | 399 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
Component | [Working] | [Final Rxn uM] | Single Rxn Vol (uL) | Full Rxn Vol (uL) | Check off Component |  |  |  | Anneal / Extension (Cycling B) *acquire* | 57/59/61/63/65/67 | 0:50 | S2 | S450L | 480 | D | [20 empty] | C |  | 480 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n |  | C |  | 478 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
Nuclease-free water |  |  | 6 | 84 |  | Nuclease-free water |  |  | # of cycles | 50 |  | S2 | H445D+S450L | 481 | E | [20 empty] | D |  | 481 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n |  | D |  | 479 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
rpoB F Primer (MEP409) | 50 uM | 0.5 |  | 0 |  | rpoB F Primer (MEP409) |  |  | Anneal / Hybridiization | 95C to 50C |  | S1+2 | D435V+H445D+S450L | 482 | F | [20 empty] | E |  | 482 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 |  |  | E |  | 480 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
rpoB R Primer (MEP410) | 5 uM | 0.05 |  | 0 |  | rpoB R Primer (MEP410) |  |  | Melt Analysis *aquire* | 65C to 95C |  | S1 | L430P | 618 | G | [20 empty] | F |  | 618 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 |  |  | F |  | 481 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
SensiFAST Probe No-ROX Kit | 2X | 1X | 10 | 140 |  | SensiFAST Probe No-ROX Kit |  |  | Custom melt // targets: no passive reference, optical filters x1 (excitation 470+/-15nm), m1 (emission 520+/-15nm), m4 (emission 623+/-14nm), reporters: LCGR+-none |  |  | S1 | S428T | 619 | H | [20 empty] | G |  | 619 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 |  |  | G |  | 482 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
LC Green Plus | 10X | 2X | 4 | 56 |  | LC Green Plus | [5 empty] | N/A | NTC | NA | [21 empty] | H | [13 empty] | H
[17 empty] | 1 | Add Seg1 (@ 10uM) to MM tube
Blocked Melt Probe Seg1 (MEP614) | 10 uM | 0.25 |  | 0 | Probe 1 |  |  |  | PCR: 1.6C/s to 95C 2m, 1.6C/s to 95C 10s, 1.6C/s to 57/59/61/63/65/67C 50s acq (50X PCR) |  |  | Master Mix | Seg 1 MEP614 in uL (via 10uM) | Seg 2 MEP613 in uL (via 10uM) |  |  | 2 | Add Seg2 (@ 10uM) to MM tube | [19 empty] | 6 | 6 | 6 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | N
Blocked Melt Probe Seg2 (MEP613) | 10 uM | 0.5 |  | 0 | Probe 2 | [11 empty] | 3 | Pipet 18uL MM per well | [16 empty] | #2 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | Target uL calculations
Target = Water or WT MEP399 10^6 c/uL |  |  | 0 | Included in water | Target |  |  |  | Melt: 1.6C/s to 95C 15s, 0.1C/s to 50C 15s, 1.6C/s to 65C 1m, 0.025C/s acq continuous to 95C 15s |  |  | 3 | 0 | 0 |  |  | 4 | Add 2uL target per target well (10^6c/uL) | [17 empty] | A | [13 empty] | 6 uL per other group
|  | total volume | 20 | [32 empty] | B |  | 481 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
15 min UV light in clean hood |  | sum | 20 | 280 | [31 empty] | C |  | 482 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
Clean hood = left, target bench = left |  | vol/tube |  | 20 | [31 empty] | D |  | 618 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
PCR instrument = QuantStudio5 | [35 empty] | E |  | 619 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
SensiFAST Probe No-ROX Kit (BIO-86005) | LOT = # SFPN-323412A | o 4/8/25 | [33 empty] | F |  | 399 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
LC Green Plus (BioFire Cat # BCHM-ASY-0005, LOT 302124), 10X in 10mM Tris-HCl, o 3/11/25, stored in ClRm FridgeB | [35 empty] | G |  | 478 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
10/23/24 prep 50uM FWD pri MEP409, 02/05/2025 SD prep 5uM REV pri MEP410, 07/25/2024 NAM prep 10uM REV pri MEP410 - all from 6/19/24 stock 100uM - new aliq 50 and 5 from Swesh 4/7/25 | [35 empty] | H
10/25/24 prep RRDR WT (MEP399) and H445D+S450L (MEP481) target as 10^6 c/uL in -80 box RRDR Targets July 2024
7/23+24/24 prep 10^6c/uL target for H445D (MEP479), D435V (MEP478), S450L (MEP480), D435V+H445D+S450L (MEP482) in -80C box RRDR Targets July 2024 | [37 empty] | 6 | 6 | 6 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | N
3/24/25 and 4/7/25 prep MEP613 RRDR Seg2 Blocked Probe as 100uM in 1X TE clean room freezer, 10uM in H2O target fridge | [34 empty] | #3 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
3/24/25 and 4/7/25 prep MEP614 RRDR Seg1 Blocked Probe as 100uM in 1X TE clean room freezer, 10uM in H2O target fridge | [35 empty] | A
4/7/25 prep L430P (MEP618) and S428T (MEP619) RRDR Targets | [35 empty] | B |  | 618 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
[36 empty] | C |  | 619 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
[36 empty] | D |  | 399 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
[36 empty] | E |  | 478 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
Component | [Stock] (uM) | [Working] (uM) | [Rxn] (uM) | [Rxn] (nM) |  | Volume (uL) added per rxn | Sequence | Source | [27 empty] | F |  | 479 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
RRDR F Primer (MEP409) | 100 | 50 | 0.5 | 500 |  | 0.2 | [29 empty] | G |  | 480 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
RRDR R Primer (MEP410) | 100 | 5 | 0.05 | 50 |  | 0.2 | [29 empty] | H
DNA | Classification | AA Change | Base Change | ID | Oligo Length | Oligo Sequence
Location: -20C, rpob - I491 F pink box from 6/3/24
Note w/r to mutants: SNP underlined in red
2/11/25 prep 10uM blocked probes MEP551 and 02/03/25 aliquot prep MEP492
10/23/24 prep 50uM Blocked C3 Spacer WT RRDR Melt Probe MEP551 (Segment 1, stock 10/3/24 in clean room) in -80 box RRDR Melt Probe Segments
02/03/25 Swesh prep 50uM Blocked C3 Spacer WT RRDR Melt Probe MEP492 (Segment 2, stock 7/25/24) in -80 box RRDR Melt Probe Segments
12/9/24 prep 10uM 3' TXR Seg2 WT RRDR Melt Probe MEP599 (stock 12/9/24 in clean room) in 20C target fridge
11/20/24 prep 10uM 3' TXR Seg1 WT RRDR Melt Probe MEP596 (stock 11/20/24 in clean room) in 20C target fridge
12/20/24 prep 10uM 3' TXR Conserved Seg WT RRDR Melt Probe MEP600 (stock 12/20/24 in clean room) in 20C target fridge
11/18 prep I491 WT LDNA TXR 5' FWD and unlabeled REV as 100uM in 1X TE, single strand as 4E12c/uL in water
11/18/24 prep I491 WT LDNA TXR 5' FWD and unlabeled REV as 1-1 ratio with 2E11 c/uL per strand in water | [5 empty] | 02/26/25 SD MgCl2 prep (500 mM stock) and 100 mM Dilution (clean room right hood)
SYBR Green I nucleic acid gel stain (Sigma S9430_0.5ML) LOT #SLBD8080V |  | 10/24/24: prep 100X SYBR in 1X TE via 10,000X DMSO stock |  |  |  | 2/10/25 and prep 25X SYBR in 1X TE via 100X in TE via 10,000X stock
3/10/25 prep MEP612 RRDR Seg2 Blocked Probe as 100uM in 1X TE clean room freezer, 10uM in H2O target fridge
9/18/24 prep MEP550 RRDR Seg1 Blocked Probe as 10uM in H2O target fridge

## 4 - all 4 WT
Expt 357 - SensiFAST Probe No Rox
Date | 2025-04-15 | Grp 4 - All 4, WT 10^6 | [6 empty] | Build off E356 - keep 50 cycles | [6 empty] | 57 |  | 59 |  | 61 |  | 63 |  | 65 |  | 67 |  | Group | F Pri | R Pri | Seg1 | Seg2 | NTC | WT
|  |  | # of Samples | 12 |  |  |  |  | PCR + post-melt: 0.025C/s on continuous melt per literature support |  |  | Mutated Seg | Target Type | MEP |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 1 | X | X | X | X | X |  |  |  |  | 6 | 6 | 6 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | N |  |  |  | 6 | 6 | 6 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | N
Kit = SensiFAST Probe No-ROX Kit (BIO-86005) | [9 empty] | Temp (ºC) | Time (mm:ss) | N/A | Wild-type RRDR | 399 | A | [12 empty] | 2 | X | X |  |  | X |  | #1 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | #4 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  |  | # of Rxns | [5 empty] | Polymerase Activation | 95 | 2:00 | S1 | D435V | 478 | B | [12 empty] | 3 |  |  |  |  | X |  |  | A | [13 empty] | A
|  | sum | 1 | 14 |  |  |  |  | Melt / Denaturation (Cycling A) | 95 | 0:10 | S2 | H445D | 479 | C | [12 empty] | 4 | X | X | X | X |  | X |  | B |  | 479 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n |  | B |  | 399 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
Component | [Working] | [Final Rxn uM] | Single Rxn Vol (uL) | Full Rxn Vol (uL) | Check off Component |  |  |  | Anneal / Extension (Cycling B) *acquire* | 57/59/61/63/65/67 | 0:50 | S2 | S450L | 480 | D | [20 empty] | C |  | 480 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n |  | C |  | 478 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
Nuclease-free water |  |  | 2.1 | 29.4 |  | Nuclease-free water |  |  | # of cycles | 50 |  | S2 | H445D+S450L | 481 | E | [20 empty] | D |  | 481 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n |  | D |  | 479 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
rpoB F Primer (MEP409) | 50 uM | 0.5 | 0.2 | 2.8 |  | rpoB F Primer (MEP409) |  |  | Anneal / Hybridiization | 95C to 50C |  | S1+2 | D435V+H445D+S450L | 482 | F | [20 empty] | E |  | 482 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 |  |  | E |  | 480 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
rpoB R Primer (MEP410) | 5 uM | 0.05 | 0.2 | 2.8 |  | rpoB R Primer (MEP410) |  |  | Melt Analysis *aquire* | 65C to 95C |  | S1 | L430P | 618 | G | [20 empty] | F |  | 618 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 |  |  | F |  | 481 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
SensiFAST Probe No-ROX Kit | 2X | 1X | 10 | 140 |  | SensiFAST Probe No-ROX Kit |  |  | Custom melt // targets: no passive reference, optical filters x1 (excitation 470+/-15nm), m1 (emission 520+/-15nm), m4 (emission 623+/-14nm), reporters: LCGR+-none |  |  | S1 | S428T | 619 | H | [20 empty] | G |  | 619 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 |  |  | G |  | 482 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
LC Green Plus | 10X | 2X | 4 | 56 |  | LC Green Plus | [5 empty] | N/A | NTC | NA | [21 empty] | H | [13 empty] | H
[17 empty] | 1 | Add Seg1 (@ 10uM) to MM tube
Blocked Melt Probe Seg1 (MEP614) | 10 uM | 0.25 | 0.5 | 7 | Probe 1 |  |  |  | PCR: 1.6C/s to 95C 2m, 1.6C/s to 95C 10s, 1.6C/s to 57/59/61/63/65/67C 50s acq (50X PCR) |  |  | Master Mix | Seg 1 MEP614 in uL (via 10uM) | Seg 2 MEP613 in uL (via 10uM) |  |  | 2 | Add Seg2 (@ 10uM) to MM tube | [19 empty] | 6 | 6 | 6 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | N
Blocked Melt Probe Seg2 (MEP613) | 10 uM | 0.5 | 1 | 14 | Probe 2 | [11 empty] | 3 | Pipet 18uL MM per well | [16 empty] | #2 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | Target uL calculations
Target = Water or WT MEP399 10^6 c/uL |  |  | 2 | Add in target room | Target |  |  |  | Melt: 1.6C/s to 95C 15s, 0.1C/s to 50C 15s, 1.6C/s to 65C 1m, 0.025C/s acq continuous to 95C 15s |  |  | 4 | 7 | 14 |  |  | 4 | Add 2uL target per target well (10^6c/uL) | [17 empty] | A | [13 empty] | 6 uL per other group
|  | total volume | 20 | [32 empty] | B |  | 481 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
15 min UV light in clean hood |  | sum | 20 | 238 | [31 empty] | C |  | 482 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
Clean hood = left, target bench = left |  | vol/tube |  | 16.5 | [31 empty] | D |  | 618 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
PCR instrument = QuantStudio5 | [35 empty] | E |  | 619 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
SensiFAST Probe No-ROX Kit (BIO-86005) | LOT = # SFPN-323412A | o 4/8/25 | [33 empty] | F |  | 399 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
LC Green Plus (BioFire Cat # BCHM-ASY-0005, LOT 302124), 10X in 10mM Tris-HCl, o 3/11/25, stored in ClRm FridgeB | [35 empty] | G |  | 478 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
10/23/24 prep 50uM FWD pri MEP409, 02/05/2025 SD prep 5uM REV pri MEP410, 07/25/2024 NAM prep 10uM REV pri MEP410 - all from 6/19/24 stock 100uM - new aliq 50 and 5 from Swesh 4/7/25 | [35 empty] | H
10/25/24 prep RRDR WT (MEP399) and H445D+S450L (MEP481) target as 10^6 c/uL in -80 box RRDR Targets July 2024
7/23+24/24 prep 10^6c/uL target for H445D (MEP479), D435V (MEP478), S450L (MEP480), D435V+H445D+S450L (MEP482) in -80C box RRDR Targets July 2024 | [37 empty] | 6 | 6 | 6 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | N
3/24/25 and 4/7/25 prep MEP613 RRDR Seg2 Blocked Probe as 100uM in 1X TE clean room freezer, 10uM in H2O target fridge | [34 empty] | #3 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
3/24/25 and 4/7/25 prep MEP614 RRDR Seg1 Blocked Probe as 100uM in 1X TE clean room freezer, 10uM in H2O target fridge | [35 empty] | A
4/7/25 prep L430P (MEP618) and S428T (MEP619) RRDR Targets | [35 empty] | B |  | 618 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
[36 empty] | C |  | 619 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
[36 empty] | D |  | 399 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0 | n
[36 empty] | E |  | 478 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
Component | [Stock] (uM) | [Working] (uM) | [Rxn] (uM) | [Rxn] (nM) |  | Volume (uL) added per rxn | Sequence | Source | [27 empty] | F |  | 479 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
RRDR F Primer (MEP409) | 100 | 50 | 0.5 | 500 |  | 0.2 | [29 empty] | G |  | 480 |  |  | 6 | 5 | 4 | 3 | 2 | 1 | 0
RRDR R Primer (MEP410) | 100 | 5 | 0.05 | 50 |  | 0.2 | [29 empty] | H
DNA | Classification | AA Change | Base Change | ID | Oligo Length | Oligo Sequence
Location: -20C, rpob - I491 F pink box from 6/3/24
Note w/r to mutants: SNP underlined in red
2/11/25 prep 10uM blocked probes MEP551 and 02/03/25 aliquot prep MEP492
10/23/24 prep 50uM Blocked C3 Spacer WT RRDR Melt Probe MEP551 (Segment 1, stock 10/3/24 in clean room) in -80 box RRDR Melt Probe Segments
02/03/25 Swesh prep 50uM Blocked C3 Spacer WT RRDR Melt Probe MEP492 (Segment 2, stock 7/25/24) in -80 box RRDR Melt Probe Segments
12/9/24 prep 10uM 3' TXR Seg2 WT RRDR Melt Probe MEP599 (stock 12/9/24 in clean room) in 20C target fridge
11/20/24 prep 10uM 3' TXR Seg1 WT RRDR Melt Probe MEP596 (stock 11/20/24 in clean room) in 20C target fridge
12/20/24 prep 10uM 3' TXR Conserved Seg WT RRDR Melt Probe MEP600 (stock 12/20/24 in clean room) in 20C target fridge
11/18 prep I491 WT LDNA TXR 5' FWD and unlabeled REV as 100uM in 1X TE, single strand as 4E12c/uL in water
11/18/24 prep I491 WT LDNA TXR 5' FWD and unlabeled REV as 1-1 ratio with 2E11 c/uL per strand in water | [5 empty] | 02/26/25 SD MgCl2 prep (500 mM stock) and 100 mM Dilution (clean room right hood)
SYBR Green I nucleic acid gel stain (Sigma S9430_0.5ML) LOT #SLBD8080V |  | 10/24/24: prep 100X SYBR in 1X TE via 10,000X DMSO stock |  |  |  | 2/10/25 and prep 25X SYBR in 1X TE via 100X in TE via 10,000X stock
3/10/25 prep MEP612 RRDR Seg2 Blocked Probe as 100uM in 1X TE clean room freezer, 10uM in H2O target fridge
9/18/24 prep MEP550 RRDR Seg1 Blocked Probe as 10uM in H2O target fridge