## 2X LCGR
Goal: RRDR - Per Swesh E58, moving back to segment 1 as MEP550 with 72C melt so 2C higher Tm than MEP551 to pull it out of the fluorescence background shoulder and it has higher GC% for better intercalation potential of duplex. And got new segment 2 as MEP612 that has 3 extra bases on 3' end to increase Tm and enable differentiable peaks between MEP550 and MEP612 on the double mutant MEP481. Here, try basic setup with the incr PCR hold steps, same conc of orig probes but try dif [LCGR (2X, 1.5X, 1X) across WT and MEP481
Expt 343 - SensiFAST Probe No Rox
Date | 2025-03-10 | 2X LCGR = original | [6 empty] | Build off E342 with incr hold time on cycling but keep 40 cycles and start at 65C!!! | [5 empty] | TARGET: |  |  | MEP399 (WT) |  |  |  |  | MEP481
|  |  | # of Samples | 6 |  |  |  |  | PCR + post-melt: 0.025C/s on continuous melt per literature support |  |  | Mutated Seg | Target Type | MEP |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Kit = SensiFAST Probe No-ROX Kit (BIO-86005) | [9 empty] | Temp (ºC) | Time (mm:ss) | N/A | Wild-type RRDR | 399 | A
|  |  | # of Rxns | [5 empty] | Polymerase Activation | 95 | 2:00 | S1 | D435V | 478 | B
|  | sum | 1 | 8 |  |  |  |  | Melt / Denaturation (Cycling A) | 95 | 0:10 | S2 | H445D | 479 | C | [12 empty] | 2X LCGR+ | bar: MEP399 (WT) 3 to MEP399 (WT) 5; MEP481 8 to MEP481 10
Component | [Working] | [Final Rxn uM] | Single Rxn Vol (uL) | Full Rxn Vol (uL) | Check off Component |  |  |  | Anneal / Extension (Cycling B) *acquire* | 61 | 0:50 | S2 | S450L | 480 | D | [12 empty] | 1.5X LCGR+ | bar: MEP399 (WT) 3 to MEP399 (WT) 5; MEP481 8 to MEP481 10
Nuclease-free water |  |  | 2.35 | 18.8 |  | Nuclease-free water |  |  | # of cycles | 40 |  | S2 | H445D+S450L | 481 | E | [12 empty] | 1X LCGR+ | bar: MEP399 (WT) 3 to MEP399 (WT) 5; MEP481 8 to MEP481 10
rpoB F Primer (MEP409) | 50 uM | 0.5 | 0.2 | 1.6 |  | rpoB F Primer (MEP409) |  |  | Anneal / Hybridiization | 95C to 50C |  | S1+2 | D435V+H445D+S450L | 482 | F
rpoB R Primer (MEP410) | 5 uM | 0.05 | 0.2 | 1.6 |  | rpoB R Primer (MEP410) |  |  | Melt Analysis *aquire* | 65C to 95C |  | N/A | NTC | NA | G
SensiFAST Probe No-ROX Kit | 2X | 1X | 10 | 80 |  | SensiFAST Probe No-ROX Kit |  |  | Custom melt // targets: no passive reference, optical filters x1 (excitation 470+/-15nm), m1 (emission 520+/-15nm), m4 (emission 623+/-14nm), reporters: LCGR+-none | [5 empty] | H
LC Green Plus | 10X | 2X | 4 | 32 |  | LC Green Plus
[12 empty] | Master Mix | Seg 1 MEP550 in uL (via 10uM) | Seg 2 MEP612 in uL (via 10uM) |  | 2: 1; MEP399 (WT) 3: Add Seg1 (@ 10uM) to MM tube
Blocked Melt Probe Seg1 (MEP550) - 0.25X | 10 uM | 0.125 | 0.25 | 2 | Probe 1 | [10 empty] | 2: 2; MEP399 (WT) 3: Add Seg2 (@ 10uM) to MM tube
Blocked Melt Probe Seg2 (MEP612) - 1X | 10 uM | 0.5 | 1 | 8 | Probe 2 |  |  |  | PCR: 1.6C/s to 95C 2m, 1.6C/s to 95C 10s, 1.6C/s to 61C 50s acq (40X PCR) |  |  | ALL | 2 | 8 |  | 2: 3; MEP399 (WT) 3: Pipet 18uL MM per well
Target = MEP399 (RRDR WT) or MEP479 (H445D) | 10^6 c/uL |  | 2 | Add sep | Target |  |  |  | Melt: 1.6C/s to 95C 15s, 0.1C/s to 50C 15s, 1.6C/s to 65C 1m, 0.025C/s acq continuous to 95C 15s | [6 empty] | 2: 4; MEP399 (WT) 3: Add 2uL target per target well (10^6c/uL)
|  | total volume | 20
15 min UV light in clean hood |  | sum | 20 | 136
Clean hood = left, target bench = left |  | vol/tube |  | 16.75
PCR instrument = QuantStudio5
SensiFAST Probe No-ROX Kit (BIO-86005) | LOT = # SFPN-323412A | o Feb tube
LC Green Plus (BioFire Cat # BCHM-ASY-0005, LOT 302124), 10X in 10mM Tris-HCl, o 1/13/24, stored in ClRm FridgeB
10/23/24 prep 50uM FWD pri MEP409, 02/05/2025 SD prep 5uM REV pri MEP410 - both from 6/19/24 stock 100uM
10/25/24 prep RRDR WT (MEP399) and H445D+S450L (MEP481) target as 10^6 c/uL in -80 box RRDR Targets July 2024
7/23+24/24 prep 10^6c/uL target for H445D (MEP479), D435V (MEP478), S450L (MEP480), D435V+H445D+S450L (MEP482) in -80C box RRDR Targets July 2024
3/10/25 prep MEP612 RRDR Seg2 Blocked Probe as 100uM in 1X TE clean room freezer, 10uM in H2O target fridge
9/18/24 prep MEP550 RRDR Seg1 Blocked Probe as 10uM in H2O target fridge
Component | [Stock] (uM) | [Working] (uM) | [Rxn] (uM) | [Rxn] (nM) |  | Volume (uL) added per rxn | Sequence | Source
RRDR F Primer (MEP409) | 100 | 50 | 0.5 | 500 |  | 0.2
RRDR R Primer (MEP410) | 100 | 5 | 0.05 | 50 |  | 0.2
DNA | Classification | AA Change | Base Change | ID | Oligo Length | Oligo Sequence
Location: -20C, rpob - I491 F pink box from 6/3/24
Note w/r to mutants: SNP underlined in red
2/11/25 prep 10uM blocked probes MEP551 and 02/03/25 aliquot prep MEP492
10/23/24 prep 50uM Blocked C3 Spacer WT RRDR Melt Probe MEP551 (Segment 1, stock 10/3/24 in clean room) in -80 box RRDR Melt Probe Segments
02/03/25 Swesh prep 50uM Blocked C3 Spacer WT RRDR Melt Probe MEP492 (Segment 2, stock 7/25/24) in -80 box RRDR Melt Probe Segments
12/9/24 prep 10uM 3' TXR Seg2 WT RRDR Melt Probe MEP599 (stock 12/9/24 in clean room) in 20C target fridge
11/20/24 prep 10uM 3' TXR Seg1 WT RRDR Melt Probe MEP596 (stock 11/20/24 in clean room) in 20C target fridge
12/20/24 prep 10uM 3' TXR Conserved Seg WT RRDR Melt Probe MEP600 (stock 12/20/24 in clean room) in 20C target fridge
11/18 prep I491 WT LDNA TXR 5' FWD and unlabeled REV as 100uM in 1X TE, single strand as 4E12c/uL in water
11/18/24 prep I491 WT LDNA TXR 5' FWD and unlabeled REV as 1-1 ratio with 2E11 c/uL per strand in water | [5 empty] | 02/26/25 SD MgCl2 prep (500 mM stock) and 100 mM Dilution (clean room right hood)
SYBR Green I nucleic acid gel stain (Sigma S9430_0.5ML) LOT #SLBD8080V |  | 10/24/24: prep 100X SYBR in 1X TE via 10,000X DMSO stock |  |  |  | 2/10/25 and prep 25X SYBR in 1X TE via 100X in TE via 10,000X stock

## 1.5X LCGR
Expt 343 - SensiFAST Probe No Rox
Date | 2025-03-10 | 1.5X LCGR | [6 empty] | Build off E342 with incr hold time on cycling but keep 40 cycles | [5 empty] | TARGET: |  |  | MEP399 (WT) |  |  |  |  | MEP481
|  |  | # of Samples | 6 |  |  |  |  | PCR + post-melt: 0.025C/s on continuous melt per literature support |  |  | Mutated Seg | Target Type | MEP |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Kit = SensiFAST Probe No-ROX Kit (BIO-86005) | [9 empty] | Temp (ºC) | Time (mm:ss) | N/A | Wild-type RRDR | 399 | A
|  |  | # of Rxns | [5 empty] | Polymerase Activation | 95 | 2:00 | S1 | D435V | 478 | B
|  | sum | 1 | 8 |  |  |  |  | Melt / Denaturation (Cycling A) | 95 | 0:10 | S2 | H445D | 479 | C | [12 empty] | 2X LCGR+ | bar: MEP399 (WT) 3 to MEP399 (WT) 5; MEP481 8 to MEP481 10
Component | [Working] | [Final Rxn uM] | Single Rxn Vol (uL) | Full Rxn Vol (uL) | Check off Component |  |  |  | Anneal / Extension (Cycling B) *acquire* | 61 | 0:50 | S2 | S450L | 480 | D | [12 empty] | 1.5X LCGR+ | bar: MEP399 (WT) 3 to MEP399 (WT) 5; MEP481 8 to MEP481 10
Nuclease-free water |  |  | 3.35 | 26.8 |  | Nuclease-free water |  |  | # of cycles | 40 |  | S2 | H445D+S450L | 481 | E | [12 empty] | 1X LCGR+ | bar: MEP399 (WT) 3 to MEP399 (WT) 5; MEP481 8 to MEP481 10
rpoB F Primer (MEP409) | 50 uM | 0.5 | 0.2 | 1.6 |  | rpoB F Primer (MEP409) |  |  | Anneal / Hybridiization | 95C to 50C |  | S1+2 | D435V+H445D+S450L | 482 | F
rpoB R Primer (MEP410) | 5 uM | 0.05 | 0.2 | 1.6 |  | rpoB R Primer (MEP410) |  |  | Melt Analysis *aquire* | 60C to 95C |  | N/A | NTC | NA | G
SensiFAST Probe No-ROX Kit | 2X | 1X | 10 | 80 |  | SensiFAST Probe No-ROX Kit |  |  | Custom melt // targets: no passive reference, optical filters x1 (excitation 470+/-15nm), m1 (emission 520+/-15nm), m4 (emission 623+/-14nm), reporters: LCGR+-none | [5 empty] | H
LC Green Plus | 10X | 1.5X | 3 | 24 |  | LC Green Plus
[12 empty] | Master Mix | Seg 1 MEP550 in uL (via 10uM) | Seg 2 MEP612 in uL (via 10uM) |  | 2: 1; MEP399 (WT) 3: Add Seg1 (@ 10uM) to MM tube
Blocked Melt Probe Seg1 (MEP550) - 0.25X | 10 uM | 0.125 | 0.25 | 2 | Probe 1 | [10 empty] | 2: 2; MEP399 (WT) 3: Add Seg2 (@ 10uM) to MM tube
Blocked Melt Probe Seg2 (MEP612) - 1X | 10 uM | 0.5 | 1 | 8 | Probe 2 |  |  |  | PCR: 1.6C/s to 95C 2m, 1.6C/s to 95C 10s, 1.6C/s to 61C 50s acq (40X PCR) |  |  | ALL | 2 | 8 |  | 2: 3; MEP399 (WT) 3: Pipet 18uL MM per well
Target = MEP399 (RRDR WT) or MEP479 (H445D) | 10^6 c/uL |  | 2 | Add sep | Target |  |  |  | Melt: 1.6C/s to 95C 15s, 0.1C/s to 50C 15s, 1.6C/s to 60C 1m, 0.025C/s acq continuous to 95C 15s | [6 empty] | 2: 4; MEP399 (WT) 3: Add 2uL target per target well (10^6c/uL)
|  | total volume | 20
|  | sum | 20 | 136
|  | vol/tube |  | 16.75
Component | [Stock] (uM) | [Working] (uM) | [Rxn] (uM) | [Rxn] (nM) |  | Volume (uL) added per rxn | Sequence | Source
RRDR F Primer (MEP409) | 100 | 50 | 0.5 | 500 |  | 0.2
RRDR R Primer (MEP410) | 100 | 5 | 0.05 | 50 |  | 0.2
DNA | Classification | AA Change | Base Change | ID | Oligo Length | Oligo Sequence
Location: -20C, rpob - I491 F pink box from 6/3/24
Note w/r to mutants: SNP underlined in red
2/11/25 prep 10uM blocked probes MEP551 and 02/03/25 aliquot prep MEP492
10/23/24 prep 50uM Blocked C3 Spacer WT RRDR Melt Probe MEP551 (Segment 1, stock 10/3/24 in clean room) in -80 box RRDR Melt Probe Segments
02/03/25 Swesh prep 50uM Blocked C3 Spacer WT RRDR Melt Probe MEP492 (Segment 2, stock 7/25/24) in -80 box RRDR Melt Probe Segments
12/9/24 prep 10uM 3' TXR Seg2 WT RRDR Melt Probe MEP599 (stock 12/9/24 in clean room) in 20C target fridge
11/20/24 prep 10uM 3' TXR Seg1 WT RRDR Melt Probe MEP596 (stock 11/20/24 in clean room) in 20C target fridge
12/20/24 prep 10uM 3' TXR Conserved Seg WT RRDR Melt Probe MEP600 (stock 12/20/24 in clean room) in 20C target fridge
11/18 prep I491 WT LDNA TXR 5' FWD and unlabeled REV as 100uM in 1X TE, single strand as 4E12c/uL in water
11/18/24 prep I491 WT LDNA TXR 5' FWD and unlabeled REV as 1-1 ratio with 2E11 c/uL per strand in water | [5 empty] | 02/26/25 SD MgCl2 prep (500 mM stock) and 100 mM Dilution (clean room right hood)
SYBR Green I nucleic acid gel stain (Sigma S9430_0.5ML) LOT #SLBD8080V |  | 10/24/24: prep 100X SYBR in 1X TE via 10,000X DMSO stock |  |  |  | 2/10/25 and prep 25X SYBR in 1X TE via 100X in TE via 10,000X stock

## 1X LCGR
Expt 343 - SensiFAST Probe No Rox
Date | 2025-03-10 | 1X LCGR | [6 empty] | Build off E342 with incr hold time on cycling but keep 40 cycles | [5 empty] | TARGET: |  |  | MEP399 (WT) |  |  |  |  | MEP481
|  |  | # of Samples | 6 |  |  |  |  | PCR + post-melt: 0.025C/s on continuous melt per literature support |  |  | Mutated Seg | Target Type | MEP |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Kit = SensiFAST Probe No-ROX Kit (BIO-86005) | [9 empty] | Temp (ºC) | Time (mm:ss) | N/A | Wild-type RRDR | 399 | A
|  |  | # of Rxns | [5 empty] | Polymerase Activation | 95 | 2:00 | S1 | D435V | 478 | B
|  | sum | 1 | 8 |  |  |  |  | Melt / Denaturation (Cycling A) | 95 | 0:10 | S2 | H445D | 479 | C | [12 empty] | 2X LCGR+ | bar: MEP399 (WT) 3 to MEP399 (WT) 5; MEP481 8 to MEP481 10
Component | [Working] | [Final Rxn uM] | Single Rxn Vol (uL) | Full Rxn Vol (uL) | Check off Component |  |  |  | Anneal / Extension (Cycling B) *acquire* | 61 | 0:50 | S2 | S450L | 480 | D | [12 empty] | 1.5X LCGR+ | bar: MEP399 (WT) 3 to MEP399 (WT) 5; MEP481 8 to MEP481 10
Nuclease-free water |  |  | 4.35 | 34.8 |  | Nuclease-free water |  |  | # of cycles | 40 |  | S2 | H445D+S450L | 481 | E | [12 empty] | 1X LCGR+ | bar: MEP399 (WT) 3 to MEP399 (WT) 5; MEP481 8 to MEP481 10
rpoB F Primer (MEP409) | 50 uM | 0.5 | 0.2 | 1.6 |  | rpoB F Primer (MEP409) |  |  | Anneal / Hybridiization | 95C to 50C |  | S1+2 | D435V+H445D+S450L | 482 | F
rpoB R Primer (MEP410) | 5 uM | 0.05 | 0.2 | 1.6 |  | rpoB R Primer (MEP410) |  |  | Melt Analysis *aquire* | 60C to 95C |  | N/A | NTC | NA | G
SensiFAST Probe No-ROX Kit | 2X | 1X | 10 | 80 |  | SensiFAST Probe No-ROX Kit |  |  | Custom melt // targets: no passive reference, optical filters x1 (excitation 470+/-15nm), m1 (emission 520+/-15nm), m4 (emission 623+/-14nm), reporters: LCGR+-none | [5 empty] | H
LC Green Plus | 10X | 1X | 2 | 16 |  | LC Green Plus
[12 empty] | Master Mix | Seg 1 MEP550 in uL (via 10uM) | Seg 2 MEP612 in uL (via 10uM) |  | 2: 1; MEP399 (WT) 3: Add Seg1 (@ 10uM) to MM tube
Blocked Melt Probe Seg1 (MEP550) - 0.25X | 10 uM | 0.125 | 0.25 | 2 | Probe 1 | [10 empty] | 2: 2; MEP399 (WT) 3: Add Seg2 (@ 10uM) to MM tube
Blocked Melt Probe Seg2 (MEP612) - 1X | 10 uM | 0.5 | 1 | 8 | Probe 2 |  |  |  | PCR: 1.6C/s to 95C 2m, 1.6C/s to 95C 10s, 1.6C/s to 61C 50s acq (40X PCR) |  |  | ALL | 2 | 8 |  | 2: 3; MEP399 (WT) 3: Pipet 18uL MM per well
Target = MEP399 (RRDR WT) or MEP479 (H445D) | 10^6 c/uL |  | 2 | Add sep | Target |  |  |  | Melt: 1.6C/s to 95C 15s, 0.1C/s to 50C 15s, 1.6C/s to 60C 1m, 0.025C/s acq continuous to 95C 15s | [6 empty] | 2: 4; MEP399 (WT) 3: Add 2uL target per target well (10^6c/uL)
|  | total volume | 20
|  | sum | 20 | 136
|  | vol/tube |  | 16.75
Component | [Stock] (uM) | [Working] (uM) | [Rxn] (uM) | [Rxn] (nM) |  | Volume (uL) added per rxn | Sequence | Source
RRDR F Primer (MEP409) | 100 | 50 | 0.5 | 500 |  | 0.2
RRDR R Primer (MEP410) | 100 | 5 | 0.05 | 50 |  | 0.2
DNA | Classification | AA Change | Base Change | ID | Oligo Length | Oligo Sequence
Location: -20C, rpob - I491 F pink box from 6/3/24
Note w/r to mutants: SNP underlined in red
2/11/25 prep 10uM blocked probes MEP551 and 02/03/25 aliquot prep MEP492
10/23/24 prep 50uM Blocked C3 Spacer WT RRDR Melt Probe MEP551 (Segment 1, stock 10/3/24 in clean room) in -80 box RRDR Melt Probe Segments
02/03/25 Swesh prep 50uM Blocked C3 Spacer WT RRDR Melt Probe MEP492 (Segment 2, stock 7/25/24) in -80 box RRDR Melt Probe Segments
12/9/24 prep 10uM 3' TXR Seg2 WT RRDR Melt Probe MEP599 (stock 12/9/24 in clean room) in 20C target fridge
11/20/24 prep 10uM 3' TXR Seg1 WT RRDR Melt Probe MEP596 (stock 11/20/24 in clean room) in 20C target fridge
12/20/24 prep 10uM 3' TXR Conserved Seg WT RRDR Melt Probe MEP600 (stock 12/20/24 in clean room) in 20C target fridge
11/18 prep I491 WT LDNA TXR 5' FWD and unlabeled REV as 100uM in 1X TE, single strand as 4E12c/uL in water
11/18/24 prep I491 WT LDNA TXR 5' FWD and unlabeled REV as 1-1 ratio with 2E11 c/uL per strand in water | [5 empty] | 02/26/25 SD MgCl2 prep (500 mM stock) and 100 mM Dilution (clean room right hood)
SYBR Green I nucleic acid gel stain (Sigma S9430_0.5ML) LOT #SLBD8080V |  | 10/24/24: prep 100X SYBR in 1X TE via 10,000X DMSO stock |  |  |  | 2/10/25 and prep 25X SYBR in 1X TE via 100X in TE via 10,000X stock

## PP and dT21 Prep
p 64 in nb1
How to prep 100 uM stock probes
1 | Make TE 2L aliquot
2 | Spin down powders at least 5 sec to clear lid and walls
3 | Open tube in clean hood
4 | Add proper amt TE --> ex: if label says 2.5 nmol, add 25 uL TE
5 | Vortex
6 | Spin down
7 | Place tube in dark drawer for 30 min
8 | Vortex
9 | Spin down
10 | Place in cryobox, label, freeze
How to prep 10 uM working probes
1 | Calculate C1V1=C2V2 --> for 50uL wkg: (100uM)(V1)=(10uM)(50 uL)
2 | Take 5 uL of 100 uM stock into 45 uL H2O
| How to prep 100 uM stock primers |  | How to prep 100 uM stock primers
1 | Make TE 2mL aliquot | 1 | Make TE 2mL aliquot
2 | Spin down powders at least 5 sec to clear lid and walls | 2 | Spin down powders at least 5 sec to clear lid and walls
3 | Open tube in clean hood | 3 | Open tube in clean hood
4 | Add proper amt TE --> ex: if label says 22.1 nmol, add 221 uL TE | 4 | Add proper amt TE --> ex: if label says 22.1 nmol, add 221 uL TE
5 | Vortex | 5 | Vortex
6 | Spin down | 6 | Spin down
7 | Place tube in dark drawer for 30 min | 7 | Place tube in dark drawer for 30 min
8 | Vortex | 8 | Vortex
9 | Spin down | 9 | Spin down
10 | Place in cryobox, label, freeze | 10 | Place in cryobox, label, freeze |  | Primer Prep - 100uM stock and 10uM working
|  |  |  | 1 | Spin down stock
| How to prep 10 uM working primers |  | How to prep 50 uM working primers | 2 | Stock: Add proper amt TE --> ex: label says 20.5 nmol, add 205 uL TE
1 | Calculate C1V1=C2V2 --> for 50uL wkg: (100uM)(V1)=(10uM)(50 uL) | 1 | Calculate C1V1=C2V2 --> for 50uL wkg: (100uM)(V1)=(50uM)(50 uL) |  | Here: 223uL TE to MEP176, 241uL TE to MEP177
2 | Take 5 uL of 100 uM stock into 45 uL H2O | 2 | Take 25 uL of 100 uM stock into 25 uL H2O | 3 | Working: Add 10 uL of 100 uM stock into 90 uL H2O
p 5 in nb2
How to prep target with dT-21 (dT_21 DJN)
80uL H2O + 10uL parent + 10uL dT-21 (10uM)
|  |  | How to prep 1:2.5 katG L-DNA Mix |  | Prep 10 uM working primers
| Syber Green: (1uL of 10,000X stock) + (199uL H2O) = (200uL of 50X) |  | katG L-DNA Mix: (1.25uL of pink TXR fluor stock) + (3.125 uL of purple quencher stock) + (95.625uL H2O) = (100uL of katG L-DNA mix for 1uL per 20uL rxn) | 1 | Calculate C1V1=C2V2 --> for 100uL wkg: (100uM)(V1)=(10uM)(100 uL)
|  |  |  | 2 | Take 10 uL of 100 uM stock into 90 uL H2O
Stored in L-DNA Biomers Box with white label
Stock at 100uM in TE
Fluor: 23FEB_katGf56_TXR - pink soln
Quencher: 23FEB_katG_56_Rcm - purple soln